## Slide 1
BIOMOVE
SMART WHEELCHAIR
Mobility + Healthcare + Safety + Rehabilitation
INTEGRATED HEALTHCARE MOBILITY

## Slide 2
THE PROBLEM
75M+
People worldwide rely on wheelchairs daily
ZERO
Health monitoring in traditional wheelchairs
NO
Real-time safety alerts for falls or obstacles
NONE
Remote visibility for caregivers
Traditional wheelchairs are passive mobility devices with no intelligence, no monitoring, and no safety net. Users and caregivers are left in the dark about health status, safety risks, and rehabilitation progress.
BIOMOVE

## Slide 3
OUR SOLUTION
Not Just a Smart Wheelchair
An Integrated Healthcare Mobility Platform
SMART MOBILITY
Dual control via joystick + app
HEALTHCARE
Real-time vital monitoring
SAFETY
4-layer protection system
REHABILITATION
EMG muscle activity tracking
Controlled via Mobile Application | Real-time vitals: HR, SpO2, Temp, EMG | AI-ready architecture
BIOMOVE

## Slide 4
KEY FEATURES
DUAL CONTROL
Joystick + Mobile App via BLE
VITAL MONITORING
HR, SpO2, Temperature, EMG
MULTI-LAYER SAFETY
Obstacle, Fall, Temp, Battery alerts
REHABILITATION
EMG muscle activity analysis
MOBILE APP
Full control & monitoring dashboard
HEAVY DUTY
Steel chassis, 100kg, 8km/h
MOBILITY + HEALTHCARE + SAFETY + REHABILITATION
BIOMOVE

## Slide 5
SYSTEM ARCHITECTURE
MOBILE APP
BLE
ESP32-S3
SENSOR ARRAY
HR/SpO2
TEMP
EMG
IMU
ULTRASONIC
BATTERY
GPS
24V MOTORS
STEEL CHASSIS
CLOUD (FUTURE)
BIOMOVE

## Slide 6
HARDWARE COMPONENTS
ESP32-S3
Dual-core MCU with WiFi + BLE
MAX30102
Heart Rate & SpO2 Sensor
MLX90614
Contactless Temperature Sensor
EMG SENSOR
Muscle Activity Detection
MPU6050
6-Axis IMU for Fall Detection
HC-SR04
Ultrasonic Obstacle Detection
24V DC Motors
Li-ion 24V Battery
Motor Driver Board
Steel Chassis Frame
BIOMOVE

## Slide 7
GAME CHANGER
EMG SENSOR
First wheelchair-integrated EMG rehabilitation platform — transforming muscle signals into actionable health insights.
MUSCLE MONITORING
Real-time EMG signal acquisition and visualization
REHABILITATION
Track muscle recovery progress over time
FATIGUE DETECTION
Early warning before muscle overexertion
FUTURE CONTROL
Navigate wheelchair using muscle signals only
EMG CONTROL COMING SOON
BIOMOVE

## Slide 8
SAFETY SYSTEM
4-LAYER PROTECTION
Multi-sensor safety network for maximum protection
OBSTACLE DETECTION
Ultrasonic sensors detect obstacles + automatic braking system
FALL DETECTION
IMU-based 6-axis motion analysis detects falls instantly
TEMPERATURE ALERT
Real-time body temperature monitoring with smart thresholds
BATTERY WARNING
Low voltage alert with remaining range estimation
EMERGENCY STOP — Immediate motor cutoff
BIOMOVE

## Slide 9
MOBILE APPLICATION
BIOMOVE
Heart Rate
72
bpm
SpO2
98
%
Temperature
36.5
°C
EMG
0.85
mV
REAL-TIME DASHBOARD
Live vitals display with trend graphs and history
VIRTUAL JOYSTICK
Full wheelchair control with speed adjustment
SAFETY ALERTS
Push notifications for all safety events
REHABILITATION MODE
EMG signal visualization and muscle history
SMART SETTINGS
BLE pairing, thresholds, user profiles
BIOMOVE

## Slide 10
MECHANICAL DESIGN
STEEL CHASSIS
Industrial-grade steel construction for maximum durability
6-WHEEL DRIVE
Enhanced stability and all-terrain maneuverability
24V DC MOTORS
Powerful yet efficient drive system
100 KG
Load Capacity
8 KM/H
Max Speed
24 V
Motor Voltage
BIOMOVE

## Slide 11
EMBEDDED SOFTWARE
POWER ON
SENSOR INIT
BLE CONNECT
MAIN LOOP
MAIN LOOP CYCLE
READ SENSORS
PROCESS DATA
SEND VIA BLE
CHECK SAFETY
MOTOR CONTROL
BIOMOVE

## Slide 12
TESTING
LOAD TEST
Gradual loading up to 100kg rated capacity
PASSED ✓
SPEED TEST
Acceleration and maximum speed verification
PASSED ✓
BATTERY TEST
Continuous operation duration measurement
PASSED ✓
BLE RANGE TEST
Connection stability at various distances
PASSED ✓
DUAL CONTROL TEST
Joystick and app switching verification
PASSED ✓
BIOMOVE

## Slide 13
RESULTS
100 KG
LOAD CAPACITY
PASSED ✓
8 KM/H
MAX SPEED
PASSED ✓
6+ HRS
BATTERY LIFE
PASSED ✓
10 HZ
BLE UPDATE RATE
PASSED ✓
DUAL CONTROL
SEAMLESS SWITCHING
PASSED ✓
BIOMOVE

## Slide 14
BIOMOVE VS TRADITIONAL
FEATURE | ● BIOMOVE | TRADITIONAL
Health Monitoring | ✓ Full vitals + EMG | ✗ None
Safety System | ✓ 4-layer protection | ✗ Manual only
Control | ✓ Dual mode + App | ✗ Manual only
Rehabilitation | ✓ EMG tracking | ✗ None
Connectivity | ✓ BLE + Cloud-ready | ✗ None
BIOMOVE: PLATFORM | TRADITIONAL: DEVICE ONLY
BIOMOVE

## Slide 15
FUTURE WORK
AI INTEGRATION
Predictive health analytics and anomaly detection from vital patterns
VOICE CONTROL
Hands-free wheelchair operation using voice commands
CLOUD PLATFORM
Remote patient monitoring dashboard for caregivers and doctors
PREDICTIVE HEALTHCARE
Early disease detection from long-term vital trend analysis
EMG CONTROL
Navigate the wheelchair using muscle signals only — no hands needed
ROADMAP 2025 — 2027
BIOMOVE

## Slide 16
DEMO
LIVE DEMONSTRATION
Video playback or live system demonstration
Insert your demo video here
BIOMOVE

## Slide 17
THANK YOU
BIOMOVE
Redefining Mobility Healthcare
Scan for Website
Smart Wheelchair Platform | Mobility + Healthcare + Safety